## Slide 1
ATTICA-CRETE SURVEY
  Technical Method Statement – CLV Nexans Skagerrak.
23-oct-2025

## Slide 2: Summary
General
Survey Method
Tentative Time Schedule
CS Skagerrak

## Slide 3: General
ATTICA-CRETE SURVEY/method statement
The attica-crete project comprised of several lots where nexans was awarded one – lot b; hvdc east pole (Attica/Pachi – Crete/Korakoi - 335 km)
Lot A; HVDC west pole (incl Electr.) Prysmian
Lot B; HVDC east pole nexans
Lot C; UG cables nkt
Lot D; FO cables prysmian
Converter stations siemens-terna

## Slide 4: Survey Method
ATTICA-CRETE SURVEY/method statement
    Nominated Vessel
    The nominated Vessel for the Attica-Crete survey is the CLV Nexans Skagerrak. Skagerrak has extensive track record of cable lay, repair operations and survey work. This is a post-installation survey to check/confirm the positioning of the cable, including burial depth.
    Main steps
    Vessel mobilization at suitable port.
    Survey of cable route with main survey equipment:
      MBES (Multibeam Echosounder)
      SSS (Side-Scan Sonar)
      TSS440 (“Pipe tracker”)
    Vessel demob.

## Slide 5: Tentative Time Schedule
ATTICA-CRETE SURVEY/method statement
Tentative

## Slide 6: Skagerrak
Attica-crete survey/method statement

## Slide 7: Thank you